## Sheet1
Paddle Number | Paddle End (A/B) | Panel Number | Panel Center | Paddle Location in Panel | Cable length (cm) | RAT Number | LTB Number-Channel | RB Number-Channel | PB Number-Channel
|  |  | *need to get this + determine origin | *need to get actual measurements | Signal cables -- pwr cables have different lengths |  | LTB Number = RAT Box Number. Matches PB Number-Channel | RB Numbers: 2N-1 (upper RB, closer to LTB) 2N (lower RB, closer to PB) where N = RAT Box Number | PB Number = RAT Box Number
1 | A | 1 |  | +6X | 330 | 8 | 8-11 | 15-05 | 8-11
1 | B | 1 |  | +6X | 330 | 8 | 8-12 | 15-06 | 8-12
2 | A | 1 |  | +5X | 330 | 8 | 8-09 | 16-05 | 8-09
2 | B | 1 |  | +5X | 330 | 8 | 8-10 | 16-06 | 8-10
3 | A | 1 |  | +4X | 330 | 8 | 8-07 | 15-03 | 8-07
3 | B | 1 |  | +4X | 330 | 8 | 8-08 | 15-04 | 8-08
4 | A | 1 |  | +3X | 375 | 8 | 8-05 | 16-03 | 8-05
4 | B | 1 |  | +3X | 375 | 8 | 8-06 | 16-04 | 8-06
5 | A | 1 |  | +2X | 375 | 8 | 8-03 | 15-01 | 8-03
5 | B | 1 |  | +2X | 375 | 8 | 8-04 | 15-02 | 8-04
6 | A | 1 |  | +1X | 375 | 8 | 8-01 | 16-01 | 8-01
6 | B | 1 |  | +1X | 375 | 8 | 8-02 | 16-02 | 8-02
7 | A | 1 |  | -1X | 375 | 16 | 16-16 | 32-08 | 16-16
7 | B | 1 |  | -1X | 375 | 16 | 16-15 | 32-07 | 16-15
8 | A | 1 |  | -2X | 375 | 16 | 16-14 | 31-08 | 16-14
8 | B | 1 |  | -2X | 375 | 16 | 16-13 | 31-07 | 16-13
9 | A | 1 |  | -3X | 375 | 16 | 16-12 | 32-06 | 16-12
9 | B | 1 |  | -3X | 375 | 16 | 16-11 | 32-05 | 16-11
10 | A | 1 |  | -4X | 330 | 16 | 16-10 | 31-06 | 16-10
10 | B | 1 |  | -4X | 330 | 16 | 16-09 | 31-05 | 16-09
11 | A | 1 |  | -5X | 330 | 16 | 16-08 | 32-04 | 16-08
11 | B | 1 |  | -5X | 330 | 16 | 16-07 | 32-03 | 16-07
12 | A | 1 |  | -6X | 330 | 16 | 16-06 | 31-04 | 16-06
12 | B | 1 |  | -6X | 330 | 16 | 16-05 | 31-03 | 16-05
13 | A | 2 |  | +6X | 240 | 10 | 10-02 | 19-02 | 10-02
13 | B | 2 |  | +6X | 240 | 10 | 10-01 | 19-01 | 10-01
14 | A | 2 |  | +5X | 265 | 10 | 10-04 | 20-02 | 10-04
14 | B | 2 |  | +5X | 265 | 10 | 10-03 | 20-01 | 10-03
15 | A | 2 |  | +4X | 265 | 10 | 10-06 | 19-04 | 10-06
15 | B | 2 |  | +4X | 265 | 10 | 10-05 | 19-03 | 10-05
16 | A | 2 |  | +3X | 295 | 10 | 10-08 | 20-04 | 10-08
16 | B | 2 |  | +3X | 295 | 10 | 10-07 | 20-03 | 10-07
17 | A | 2 |  | +2X | 295 | 10 | 10-10 | 19-06 | 10-10
17 | B | 2 |  | +2X | 295 | 10 | 10-09 | 19-05 | 10-09
18 | A | 2 |  | +1X | 330 | 10 | 10-12 | 20-06 | 10-12
18 | B | 2 |  | +1X | 330 | 10 | 10-11 | 20-05 | 10-11
19 | A | 2 |  | -1X | 330 | 14 | 14-05 | 28-03 | 14-05
19 | B | 2 |  | -1X | 330 | 14 | 14-06 | 28-04 | 14-06
20 | A | 2 |  | -2X | 295 | 14 | 14-07 | 27-03 | 14-07
20 | B | 2 |  | -2X | 295 | 14 | 14-08 | 27-04 | 14-08
21 | A | 2 |  | -3X | 295 | 14 | 14-09 | 28-05 | 14-09
21 | B | 2 |  | -3X | 295 | 14 | 14-10 | 28-06 | 14-10
22 | A | 2 |  | -4X | 265 | 14 | 14-11 | 27-05 | 14-11
22 | B | 2 |  | -4X | 265 | 14 | 14-12 | 27-06 | 14-12
23 | A | 2 |  | -5X | 265 | 14 | 14-13 | 28-07 | 14-13
23 | B | 2 |  | -5X | 265 | 14 | 14-14 | 28-08 | 14-14
24 | A | 2 |  | -6X | 240 | 14 | 14-15 | 27-07 | 14-15
24 | B | 2 |  | -6X | 240 | 14 | 14-16 | 28-08 | 14-16
25 | A | 3 |  | +4Z | 295 | 8 | 8-14 | 16-08 | 8-14
25 | B | 3 |  | +4Z | 295 | 8 | 8-13 | 16-07 | 8-13
26 | A | 3 |  | +3Z | 265 | 8 | 8-16 | 15-08 | 8-16
26 | B | 3 |  | +3Z | 265 | 8 | 8-15 | 15-07 | 8-15
27 | A | 3 |  | +2Z | 265 | 9 | 9-12 | 18-06 | 9-12
27 | B | 3 |  | +2Z | 265 | 9 | 9-11 | 18-05 | 9-11
28 | A | 3 |  | +1Z | 240 | 9 | 9-10 | 17-06 | 9-10
28 | B | 3 |  | +1Z | 240 | 9 | 9-09 | 17-05 | 9-09
29 | A | 3 |  | -1Z | 240 | 9 | 9-08 | 18-04 | 9-08
29 | B | 3 |  | -1Z | 240 | 9 | 9-07 | 18-03 | 9-07
30 | A | 3 |  | -2Z | 240 | 9 | 9-06 | 17-04 | 9-06
30 | B | 3 |  | -2Z | 240 | 9 | 9-05 | 17-03 | 9-05
31 | A | 3 |  | -3Z | 210 | 9 | 9-04 | 18-02 | 9-04
31 | B | 3 |  | -3Z | 210 | 9 | 9-03 | 18-01 | 9-03
32 | A | 3 |  | -4Z | 210 | 9 | 9-02 | 17-02 | 9-02
32 | B | 3 |  | -4Z | 210 | 9 | 9-01 | 17-01 | 9-01
33 | A | 4 |  | +4Z | 265 | 12 | 12-10 | 24-08 | 12-10
33 | B | 4 |  | +4Z | 265 | 12 | 12-09 | 24-07 | 12-09
34 | A | 4 |  | +3Z | 240 | 12 | 12-08 | 23-08 | 12-08
34 | B | 4 |  | +3Z | 240 | 12 | 12-07 | 23-07 | 12-07
35 | A | 4 |  | +2Z | 240 | 12 | 12-12 | 24-06 | 12-12
35 | B | 4 |  | +2Z | 240 | 12 | 12-11 | 24-05 | 12-11
36 | A | 4 |  | +1Z | 240 | 12 | 12-06 | 23-06 | 12-06
36 | B | 4 |  | +1Z | 240 | 12 | 12-05 | 23-05 | 12-05
37 | A | 4 |  | -1Z | 210 | 12 | 12-14 | 24-04 | 12-14
37 | B | 4 |  | -1Z | 210 | 12 | 12-13 | 24-03 | 12-13
38 | A | 4 |  | -2Z | 210 | 12 | 12-04 | 23-04 | 12-04
38 | B | 4 |  | -2Z | 210 | 12 | 12-03 | 23-03 | 12-03
39 | A | 4 |  | -3Z | 210 | 12 | 12-16 | 24-02 | 12-16
39 | B | 4 |  | -3Z | 210 | 12 | 12-15 | 24-01 | 12-15
40 | A | 4 |  | -4Z | 180 | 12 | 12-02 | 23-02 | 12-02
40 | B | 4 |  | -4Z | 180 | 12 | 12-01 | 23-01 | 12-01
41 | A | 5 |  | +4Z | 295 | 16 | 16-04 | 32-02 | 16-04
41 | B | 5 |  | +4Z | 295 | 16 | 16-03 | 32-01 | 16-03
42 | A | 5 |  | +3Z | 265 | 16 | 16-02 | 31-02 | 16-02
42 | B | 5 |  | +3Z | 265 | 16 | 16-01 | 31-01 | 16-01
43 | A | 5 |  | +2Z | 265 | 15 | 15-06 | 30-04 | 15-06
43 | B | 5 |  | +2Z | 265 | 15 | 15-05 | 30-03 | 15-05
44 | A | 5 |  | +1Z | 240 | 15 | 15-08 | 29-04 | 15-08
44 | B | 5 |  | +1Z | 240 | 15 | 15-07 | 29-03 | 15-07
45 | A | 5 |  | -1Z | 240 | 15 | 15-10 | 30-06 | 15-10
45 | B | 5 |  | -1Z | 240 | 15 | 15-09 | 30-05 | 15-09
46 | A | 5 |  | -2Z | 240 | 15 | 15-12 | 29-06 | 15-12
46 | B | 5 |  | -2Z | 240 | 15 | 15-11 | 29-05 | 15-11
47 | A | 5 |  | -3Z | 210 | 15 | 15-14 | 30-08 | 15-14
47 | B | 5 |  | -3Z | 210 | 15 | 15-13 | 30-07 | 15-13
48 | A | 5 |  | -4Z | 210 | 15 | 15-16 | 29-08 | 15-16
48 | B | 5 |  | -4Z | 210 | 15 | 15-15 | 29-07 | 15-15
49 | A | 6 |  | +4Z | 265 | 19 | 19-10 | 38-08 | 19-10
49 | B | 6 |  | +4Z | 265 | 19 | 19-09 | 38-07 | 19-09
50 | A | 6 |  | +3Z | 240 | 19 | 19-08 | 37-08 | 19-08
50 | B | 6 |  | +3Z | 240 | 19 | 19-07 | 37-07 | 19-07
51 | A | 6 |  | +2Z | 240 | 19 | 19-12 | 38-06 | 19-12
51 | B | 6 |  | +2Z | 240 | 19 | 19-11 | 38-05 | 19-11
52 | A | 6 |  | +1Z | 210 | 19 | 19-06 | 37-06 | 19-06
52 | B | 6 |  | +1Z | 210 | 19 | 19-05 | 37-05 | 19-05
53 | A | 6 |  | -1Z | 210 | 19 | 19-14 | 38-04 | 19-14
53 | B | 6 |  | -1Z | 210 | 19 | 19-13 | 38-03 | 19-13
54 | A | 6 |  | -2Z | 210 | 19 | 19-04 | 37-04 | 19-04
54 | B | 6 |  | -2Z | 210 | 19 | 19-03 | 37-03 | 19-03
55 | A | 6 |  | -3Z | 180 | 19 | 19-16 | 38-02 | 19-16
55 | B | 6 |  | -3Z | 180 | 19 | 19-15 | 38-01 | 19-15
56 | A | 6 |  | -4Z | 180 | 19 | 19-02 | 37-02 | 19-02
56 | B | 6 |  | -4Z | 180 | 19 | 19-01 | 37-01 | 19-01

## Sheet2
Panel Number | Panel Center